## 2023 September (2)
Risø HDRL | Validation and Process Control for Electron Beam Sterilization - September 2024
| Monday | Tuesday | Wednesday | Thursday | Friday
9:00 | 0 Introduction | Summary of Monday activities | 11 Biocompatibility | 12 Introduction to microbiology | 16 Process control
| 1 Irradiation facilities | 2b International standards - Other standards | and Toxicology |  | 16a Using uncertainties for setting process limits
|  | 7 Measurement traceability | Recap IQ - OQ | 13 Microbiological methods
| 2a International standards - ISO 11137 | 8 Measurement uncertainty | OQ - Operational qualification | 13a. Bioburden Estimation | 17 Radiation effects on polymers
10:30 | 3 Dosimetry systems |  | Measure dosimeters | 13b. Test of sterility
|  | 9 Influence of environment on dosimeter response | Analysis of data | 13c. Sterility - EN 556-1
| 4 Calibration |  |  |  | 18 Establish maximum acceptable dose
| Prepare calib dosimeters for irradiation | 10 RisøScan |  | Exercices
12:00 | LUNCH
13:00 | 5 Validation - IQ-OQ | Recap Calibration | Recap PQ | 14. Establishing the sterilization dose for radiation sterilization | 19 Audit of device manufacturer and contract irradiator
| Required measurements | Calibration | Performance qualification
| Prepare dosimeters for irradiation | Measure dosimeters | Measure dosimeters | 14a. Dose setting methods | Wrapping up
|  |  | Analysis of data | 14b. Sterilization Dose substantiation
15:00 | 6 PQ | Establish calibration functions |  | Exercices | Close: approx. 15:00
| Dose mapping | for GEX DoseStix | Establish process specification for sterilization | 14c. Maintaining process effectiveness
| Prepare products for irradiation | for B3/RisøScan |  | 15 Dose measurement verification - comparison
Close 17:00 |  |  |  | 15a Analysis of sample data
| Evening: |  |  | Evening Dinner
Irradiation at Sterigenics 10 MeV electron accelerator facility