## Sheet1
Validation and Process Control for Low Energy Electron Beam Irradiation |  |  | 2025
| Day 1 | Day 2 | Day 3
9:00 | Introduction | Measurement traceability | PQ - Dose mapping
| Electron accelerator facilities | Measurement uncertainty
| Standards -- Principles of IQ-OQ-PQ | Establish uncertainty budget | Prepare products for irradiation
| Guide on the use of low energy e-beam for decontamination | Influence of environment parameters | Measure dosimeters
10:30 | Dosimeter systems | IQ-OQ | Analysis of data
| Alanine films | Dose as function of current, speed, beam width
| Risø B3, GEX, FWT | Beam Penetration (Energy) | Process control
| RisøScan | Reference product dose map | Use of uncertainty data
| Dµ - principles and method | Process interruption | Setting of irradiation parameters
LUNCH
13:00 | Calibration | Prepare dosimeters for irradiation | Establish maximum acceptable dose
| Prepare dosimeter for irradiation | Irradiation of samples and dosimeters | Effect of radiation on polymers
| Irradiation of dosimeters | Measure dosimeters
Analysis of data
15:00 | Measure dosimeters | Selecting the required dose for effective process | Evaluation
| RisøScan | Microbiological aspects
| Spectrophotometer | ISO 11137 – methods | Close approx. 15:00
| Establish calibration functions | Low energy issues
Close 16:30 | Verification of calibration